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                                                                                                                                                        DATE-…/…./…….

    OUR QUOTATION NO :-     TR/HM/12.5 MTR   /…………………/………………..

	12.5 MTR Octagonal Pole Technical  Data sheet


	SL No.
	Description
	Data

	01
	Height of pole 
	12.5 MTR


	02
	Number of segment
	2 PART 


	03
	Base & Top  Dia
	310 X 150 


	04
	Thickness of Structure 
	4/3 mm  


	05
	Cross Section
	HIGH MAST 


	06
	Base Plate size
	510 X 20mm


	07
	Base Plate thickness
	16 mm 


	08
	P.C.D 
	440 mm


	09 
	HOLES 
	6 HOLES (28)


	10
	Foundation Bolt size 
	M24X 750 LGx6


	11
	MOTER
	1 H P




	PRICE

	SL No .
	Description
	RATE

	01
	12.5 MTR OCTAGOLAN POLE
	


	02
	Foundation Bolt M24x600x6
	INCLUDING.


	03
	AVIATION LIGHT
	

	04
	TPN
	

	05
	TOTAL
	

	06
	GST 18%
	

	07
	GRAND TOTAL
	



		TERMS

	SL No .
	
	

	01
	PAYMENT
	50% Advance Balance /REST OF BEFORE DISPATCH 

	02
	TRANSPORTATION 
	EXTRA

	03
	DELIVERY 
	3 TO 4 DAYS 

	04
	OFFER VALIDITY
	ONLY CLIENT  CODE OPEN CUSTOMER 



                                                                                                                                                   With Regards 
Vikram jeet singh                                               
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