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                                OUR QUOTATION NO :-     TR/HM/16  MTR/06-05-2024/Q7
	16 MTR Octagonal Pole Technical  Data sheet


	SL No.
	Description
	Data

	01
	Height of pole 
	16mtr



	02
	Number of segment
	2 PART
 

	04
	 Top  Dia

	150



	05
	Base 
	360


	07
	Base Plate size
	520
 

	08
	Base Plate thickness
	25 mm
 

	09
	Thickness of Structure 
	3 mm/3 MM
  

	10
	NO  of Cricumferential Weld
	Nil



	 11
	PCD
	460 mm



	14
	Galvanizing  Standard 
	IS 4759



	15
	Foundation Bolt size 
	M30 X850 LGx8



	16
	MOTER
	1.5 H P
 



	PRICE

	SL No .
	Description
	RATE

	01
	16 MTR OCTAGOLAN POLE 
	68000


	02
	Foundation Bolt M24x750x8
	INCLUDING


	03 
	                              TOTAL
	68000


	04 
	GST  EXTRA (18%)
	
12240

	05 
	GRAND TOTAL
	80240/-




		TERMS

	SL No .
	
	

	01
	PAYMENT
	50% Advance Balance /REST OF BEFORE DISPATCH 

	02
	TRANSPORTATION 
	EXTRA

	03
	DELIVERY 
	3 TO 4 DAYS 

	04
	OFFER VALIDITY
	ONLY CLIENT CODE OPEN CUSTOMER



                                                                                                                                                   With Regards 
Vikram jeet singh                                               
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             ADDRESS :-        2/44 K-1/C      Gyatri nagar   Pandeypur  –221002
FACTORY ADDRESS – S-28/70   Anola  Pulliya  Taktakpur  Gas Gudam  Cant Varanasi
Contacts  us :-    8317010230   E-mail  -taraviciana66@gmail.com 
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