DATE………….

OUR QUOTATION NO :-     TR/HM/20  MTR/……………../…………….

20 MTR HIGH MAST Pole Technical Data sheet

| SL No. | Description |  | Data |
| --- | --- | --- | --- |
| 01 | Height of pole | 20 MTR |  |
| 02 | Number of segment | 2 PART |  |
| 04 | Base & Top Dia | 460 x 150 |  |
| 05 | Thickness of Structure | 4 MM |  |
| 07 | Base Plate size | 670 dia |  |
| 08 | Base Plate thickness | 25 mm |  |
| 09 | No .of Longitudinal Weld | Single |  |
| 10 | NO of Cricumferential Weld | Nil |  |
| 11 | P.C.D | 590 mm |  |
| 15 | Foundation Bolt size | M24X750 LGx8 |  |
| 16 | MOTER | 1.5 H P |  |

| PRICE |  |
| --- | --- |
| SL No . | Description |  | RATE |  |
| 01 | 20 MTR OCTAGOLAN POLE |  | 110000 |  |
| 02 | Foundation Bolt M24x750x8 |  | INCLUDING |  |
| 03 | TOTAL |  | 110000 |  |
| 04 | GST EXTRA (18%) |  | 19800 |  |
| 05 | GRAND TOTAL |  | 129800/- |  |

| TERMS |  |
| --- | --- |
| SL No . |  |  |  |  |
| 01 | PAYMENT |  | 50% Advance Balance /REST OF BEFORE DISPATCH |  |
| 02 | TRANSPORTATION |  | EXTRA |  |
| 03 | DELIVERY |  | 3 TO 4 DAYS |  |
| 04 | OFFER VALIDITY |  | ONLY CLIENT CODE OPEN CUSTOMER |  |

With Regards

Vikram jeet singh

ADDRESS :-        2/44 K-1/C      Gyatri nagar   Pandeypur  –221002

FACTORY ADDRESS – S-28/70   Anola  Pulliya  Taktakpur  Gas Gudam  Cant Varanasi

Contacts  us :-    8317010230   E-mail  -taraviciana66@gmail.com