DATE……………………..

OUR QUOTATION NO :-     TR/HM/30 /…………………/………………………..

30 MTR HIGH MAST POLE Technical Data sheet

| SL No. | Description |  |  | Data |  |
| --- | --- | --- | --- | --- | --- |
| 01 | Height of pole |  | 30 Mtr |  |  |
| 02 | Number of segment |  | 3 PART |  |  |
| 04 | Base & Top Dia |  | 540x150 |  |  |
| 05 | Thickness of Structure |  | 4/4/3 |  |  |
| 07 | Base Plate size |  | 630 |  |  |
| 08 | Base Plate thickness |  | 32 mm |  |  |
| 11 | P.C.D |  | 730 mm |  |  |
| 12 | Metal Protection |  | Hot Dip Galvanizing Internally & Externally |  |  |
| 13 | Thickness of Galvanizing |  | 80 microns |  |  |
| 15 | Foundation Bolt size |  | M30X850 LGx12 |  |  |
| 16 | Moter |  | 2 H P |  |  |
| PRICE |  |  |
| SL No . | Description |  | RATE |  |  |
| 01 | 30 MTR POLE |  |  |  |  |
| 02 | INCLUDING (GST 18%) |  |  |  |  |
| 03 | TOTAL |  |  |  |  |
| 4 | GST |  |  |  |  |
| 14 | GRAND TOTAL |  | /- |  |  |

| TERMS |  |
| --- | --- |
| SL No . |  |  |  |  |
| 01 | PAYMENT |  | 50% Advance Balance /REST OF BEFORE DISPATCH |  |
| 02 | TRANSPORTATION |  | EXTRA |  |
| 03 | DELIVERY |  | 3 TO 4 DAYS |  |
| 04 | OFFER VALIDITY |  | ONLY CLIENT CODE OPEN CUSTOMER |  |

With Regards

Vikram jeet singh

ADDRESS :-        2/44 K-1/C      Gyatri nagar   Pandeypur  –221002

FACTORY ADDRESS – S-28/70   Anola  Pulliya  Taktakpur  Gas Gudam  Cant Varanasi

Contacts  us :-    8317010230   E-mail  -taraviciana66@gmail.com