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        OUR QUOTATION NO :-     TR/HM/9 MTR /……………../……….Q5 
	9 MTR Octagonal Pole Technical  Data sheet


	SL No.
	Description
	Data

	01
	Height of pole 

	9 MTR 

	02
	Number of segment

	Single

	03
	Foundation Bolt size
 
	M20 x650 x4 

	04
	Base & Top  Dia

	70/155

	05
	Thickness of Structure
 
	3 m m

	06
	Cross Section

	Octagonal

	07
	Base Plate size

	260 X 260 

	08
	Base Plate thickness.

	16 mm

	09
	P.C.D
 
	260

	10
	Thickness of Galvanizing 

	80 microns 


				
	PRICE

	SL No .
	Description
	RATE

	01
	9 MTR OCTAGOLAN POLE 

	0



	02
	Foundation Bolt M20

	0

	 03
	                              TOTAL
	0

	04 
	GST  EXTRA   (18 %)

	0

	05 
	                     GRAND TOTAL 
	0




		TERMS

	SL No .
	
	

	01
	PAYMENT
	50% Advance Balance /REST OF BEFORE DISPATCH 

	02
	TRANSPORTATION 
	EXTRA

	03
	DELIVERY 
	3 TO 4 DAYS 

	04
	OFFER VALIDITY
	ONLY CLIENT  CODE OPEN CUSTOMER 





	  With Regards 
Vikram jeet singh                                               
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               ADDRESS :-        2/44 K-1/C      Gyatri nagar   Pandeypur  –221002
FACTORY ADDRESS – S-28/70   Anola  Pulliya  Taktakpur  Gas Gudam  Cant Varanasi
Contacts  us :-    8317010230   E-mail  -taraviciana66@gmail.com 
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